About this Checklist

Description:

The Sample Single-Family Rehabilitation Checklist is intended as a paper tool for field inspections that enables an inspector to accurately identify items to include in the more detailed work write-up that becomes part of the contract documents. It includes a number of green building items and corresponds to two other documents in the NSP Resource Exchange: the Sample Single-Family Rehabilitation Specifications and the Sample Single-Family Housing Rehabilitation Standards. This three-document set includes green building performance standards and specifications.

How to Adapt this Document:

The Checklist is a template and, as such, customization is required to make it usable for your housing program. Users should adapt this document and the accompanying work specifications to your local climate, housing stock and program goals.

Source of Document:

The Checklist was adapted from the standard checklist for the Housing Developer Pro software application — see www.CommunityDevelopmentSoftware.com.

The Checklist is a template and, as such, customization is required to make it usable for your housing program. In the process of customization, you should adapt this document and the accompanying work specifications to your local climate, housing stock and program goals.

Disclaimer:

This document is not an official HUD document and has not been reviewed by HUD counsel. It is provided for informational purposes only. Any binding agreement should be reviewed by attorneys for the parties to the agreement and must conform to state and local laws.

Sample Single-Family Rehabilitation Checklist

The Sample Single-Family Rehabilitation Checklist is intended as a paper tool for field inspections that enables an inspector to accurately identify items to include in the more detailed work write-up that becomes part of the contract documents. It includes a number of green building items and corresponds to another document, the Sample Single-Family Rehabilitation Specifications.

This is one of three sample documents that are intended to be used as a set.  The Sample Single-Family Rehabilitation Specifications is a comprehensive library of specifications that correspond to the items in the Checklist. This document and the checklist include a number of green building specifications. The Specifications are designed to give clear directions to contractors.  The quantity format makes cost estimating and cost proposals more reliable for both the rehab program and the contractors.

The Sample Single-Family Housing Rehabilitation Standard is a template for creating a minimum performance standard for a rehab program. The Standard is a guide for decision-making—about what specifications should be applied in what situations to produce uniformly safe, decent, durable and high-performing homes.

Each of the documents is a template and, as such, customization is required to make each relevant for your housing program. In the process of customization, you should adapt these document to your local climate, housing stock and program goals. .

This document was prepared by Armand C. Magnelli, principal with Community Development Software LLC and president of Livable Housing, Inc., a consulting and training firm.  Amy Hook, a program director with the Green Communities initiative of Enterprise Community Partners, was a contributor and reviewer. The Checklist was adapted from the standard checklist for the  Housing Developer Pro software application - see www.CommunityDevelopmentSoftware.com. The specifications with the suffix [GREEN SPEC] are intended to be used for including “green-build” improvements that follow national green building standards such as Enterprise Community Partner’s Green Communities Criteria.

The Checklist is a template and, as such, customization is required to make it usable for your housing program. In the process of customization, you should adapt this document and the accompanying work specifications to your local climate, housing stock and program goals.

This document is intended to provide a sample format of an inspection checklist for a single-family housing rehabilitation program.  It is designed to assist in identifying the line items of work for multiple construction management purposes, including the creation of a scope of work and bidding.  If implemented as designed you will be able to choose specific work items and quantify them while inspecting a house.  The process of quantifying the units for each line item allows for quick and accurate cost estimating. In order for this to be effective, you must first determine accurate unit costs for your area.

Format of the NSP Rehabilitation Checklist

The checklist is split up into sections, which have been created based on locations within or around the typical project home. The header of each page (shown on the next page) is used to identify which location the respective section of the checklist has been used to inspect.  The following chart delineates the sections of the document and the typical locations for which the respective section was designed.

Rehabilitation Checklist (Header)

Address:_______________________       Date:_________________

Unit:_________________

Location Number:________________

Location Name:________________		Length: _______	Width:	 ________      Height: ________

| Section | # of Pages | Typical Locations |
| --- | --- | --- |
| Attic | 1 | Attic |
| Basement/Utilities | 3 | Basement, Crawl Spaces (can be converted to Utility Rooms) |
| Bathroom | 3 | Bathrooms |
| Entire Interior | 1 | Work that is universally applied to interior spaces such as painting. An optional section. |
| Exterior | 4 | Exterior, Garages |
| General Requirements | 1 | Specifications that are conditions of the construction contract, not typical line items of work. |
| Generic Interior Room | 3 | Living Rooms; Dining Rooms; Bedrooms; Dens; Hallways |
| Kitchen | 3 | Kitchens |
| Stairs | 2 | Staircases between floors. |

Each section of the checklist contains potential elements your rehabilitation specialist, contractor or inspector will need to consider in that particular location of the project home. For example, if you are in the Attic, you will consider the following elements:

  - Roof Framing

  - Carpentry

  - Venting

  - Insulation

  - Electric

Each element then has a listing for all the potential specifications that you will need to consider in this location, under this section, for this element. A specification number is listed for each specification and it correlates to the specification number used in the NSP Rehabilitation Specification Listing. These numbers have no intrinsic value and can be changed if you see fit.

Here is another example, using the Attic once again:

Attic

Roof Framing

15 - 4410	_____	LF	RAFTER--SISTER 2"X 8"

15 - 4425	_____	LF	RAFTER--2"X 8" REPLACE

15 - 4440	_____	SF	FRAME ROOF--PITCHED

15 - 4450_____ SF	FRAME ROOF--FLAT 2"X 8"

It may be helpful to think of each section of the Checklist as a separate document.  When used in the field on a single-family rehabilitation inspection, you can preload your clipboard with 1 General Requirement section, 1 Exterior section, 1 kitchen section, several Bathroom sections (depending on how many bathrooms this project home has), and 15 to 20 Generic Interior Room sections, etc.

Attic

Roof Framing

15 - 4410	_____	LF	RAFTER--SISTER 2"X 8"

15 - 4425	_____	LF	RAFTER--2"X 8" REPLACE

15 - 4440	_____	SF	FRAME ROOF--PITCHED

15 - 4450	_____	SF	FRAME ROOF--FLAT 2"X 8"

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Carpentry

10 - 3420	_____	EA	ATTIC ACCESS

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Venting

15 - 4711	_____	LF	RIDGE VENT--SHINGLE OVER

15 - 4723	_____	EA	VENT--SOFFIT, CONTINUOUS

15 - 4727	_____	SF	ROOF VENTILATION--COMBINED SOFFIT AND RIDGE

15 - 4722	_____	EA	VENT--DRIP EDGE

15 - 4725	_____	EA	VENT--SOFFIT, RECTANGULAR

15 - 4715	_____	EA	VENT--GABLE

15 - 4730	_____	EA	VENT--CUSTOM

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Insulation

16 - 4920	_____	SF	INSULATE CEILING--R-30 BATT

16 - 4935	_____	SF	ATTIC R-30 CELLULOSE--GCI

16 - 4936	_____	SF	ATTIC R-38 CELLULOSE--GCI

16 - 4937	_____	SF	ATTIC R-45 CELLULOSE--GCI

16 - 4938	_____	SF	ATTIC INSULATION - CELLULOSE--DENSE PACK--GCI

16 - 4912	_____	SF	INSULATE WALL/CEILING/FLOOR CAVITY-CLOSED CELL FOAM--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7727	_____	EA	LIGHT FIXTURE--PULL CHAIN

23 - 7740	_____	EA	LIGHT FIXTURE AND SWITCH

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Basement/Utilities

Masonry/Concrete

6 - 905	_____	SF	CONCRETE SLAB--PATCH

6 - 912	_____	SF	BASEMENT SLAB INSTALLATION--GCI

7 - 1105	_____	SF	FOUNDATON--PARGET

7 - 1125	_____	EA	FOUNDATION VENT--SMALL

7 - 1130	_____	EA	FOUNDATION VENT--LARGE

7 - 1135	_____	EA	FOUNDATION VENT SCREEN--REPLACE

7 - 1170	_____	SF	BLOCK WALL REPAIR

7 - 1230	_____	SF	MASONRY--REPOINT

7 - 1235	_____	SF	BRICK WALL REPAIR

7 - 1330	_____	SF	CHIMNEY--REPOINT

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Carpentry

7 - 1185	_____	SF	GLASS BLOCK

10 - 2520	_____	LF	HANDRAIL--REPLACE INTERIOR

10 - 2540	_____	EA	STAIRCASE--REPLACE BASEMENT

10 - 2775	_____	EA	SASH LOCK

10 - 2795	_____	EA	WINDOW REPAIR

10 - 2810	_____	EA	GLASS REPLACE--WOOD SASH

10 - 2890	_____	EA	WINDOW--WOOD BASEMENT UNIT

10 - 3190	_____	EA	DOOR--CRAWL SPACE ACCESS

16 - 4955	_____	SF	VAPOR BARRIER--CRAWL SPACE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Insulation

16 - 4903	_____	FL	AIR-SEAL BUILDING ENVELOPE--GCI

16 - 4955	_____	SF	VAPOR BARRIER--CRAWL SPACE

16 - 4957	_____	SF	SEAL AND INSULATE--CRAWL SPACE

16 - 4995	_____	LF	INSULATE RIM JOIST--FIBERGLASS--GCI

16 - 4996	_____	LF	INSULATE RIM JOIST--FOAM--GCI

16 - 4997	_____	LF	INSULATE RIM JOIST--FOAM BOARD--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Boiler

21 - 6205	_____	EA	BURNER MAINTENANCE

21 - 6210	_____	EA	BOILER--REBUILD CHAMBER

21 - 6245	_____	EA	BOILER--GAS REPLACE--COMPLETE

21 - 6275	_____	EA	BOILER--GAS CUSTOM

Basement/Utilities

21 - 6244	_____	EA	BOILER--HIGH EFFICIENCY--GAS REPLACE--GCI

21 - 6246	_____	EA	BOILER--HIGH EFFICIENCY--GAS REPLACE COMPLETE--GCI

21 - 6247	_____	EA	BOILER--HIGH EFFICIENCY-- W/ INDIRECT HWH--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Furnace

21 - 6380	_____	EA	SETBACK THERMOSTAT

21 - 6003	_____	EA	HVAC--PASSIVE FRESH AIR INTAKE--GCI

21 - 6041	_____	EA	FURNACE 90+ GAS - REPLACE--GCI

21 - 6042	_____	EA	ACTIVE FRESH AIR INTAKE-FORCED AIR SYS--APRILAIRE--GCI

21 - 6043	_____	EA	ACTIVE FRESH AIR INTAKE-FORCED AIR SYS--SKUTTLE--GCI

21 - 6175	_____	EA	HEAT PUMP--REPLACE--16 SEER--GCI

21 - 6176	_____	EA	HEAT PUMP--REPLACE--13 SEER--GCI

16 - 4985	_____	LF	INSULATE DUCT--FIBERGLASS

21 - 6337	_____	LF	DUCT SEALING--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Venting

21 - 6405	_____	EA	FLUE THIMBLE

21 - 6410	_____	LF	FLUE REPLACE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Drain, Waste & Vent

22 - 6705	_____	AL	WASTE LINES--INSPECT, REPORT

22 - 6710	_____	EA	WASTE LINE--SNAKE

22 - 6715	_____	LF	DRAIN, WASTE, VENT--PVC

22 - 6735	_____	LF	SEWER SERVICE--4" PVC

22 - 7210	_____	DU	DRAIN/WASTE/VENT--1 BATH HSE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Water Lines & Risers

22 - 6612	_____	LF	WATER SERVICE--COPPER K LINE

22 - 6633	_____	LF	SUPPLY--PEX

22 - 6635	_____	LF	SUPPLY--COPPER

22 - 6645	_____	EA	SHUT-OFF VALVE

16 - 4981	_____	LF	INSULATE DOMESTIC WATER SUPPLY PIPE--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Water Heater

22 - 7071	_____	EA	HWH - 90+ 40 GAL GAS POWER VENTED--GCI

Basement/Utilities

22 - 7072	_____	EA	HWH-TANKLESS--GCI

22 - 7055	_____	EA	DISCHARGE TUBE

22 - 7065	_____	EA	WATER HEATER--30 GALLON GAS

22 - 7070	_____	EA	WATER HEATER--40 GALLON GAS

22 - 7080	_____	EA	WATER HEATER--30 GAL. ELECTRIC

22 - 7085	_____	EA	WATER HEATER--40 GAL. ELECTRIC

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Gas Lines

22 - 6763	_____	EA	GAS LINE--PRESSURE TEST

22 - 6765	_____	LF	GAS LINE

22 - 6775	_____	EA	GAS SHUT-OFF VALVE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7425	_____	EA	ELECTRIC PANEL--RELOCATE

23 - 7465	_____	EA	ELECTRIC SERVICE--100 AMP

23 - 7475	_____	EA	ELECTRIC SERVICE--200 AMP

23 - 7507	_____	EA	ARC-FAULT CIRCUIT BREAKER

23 - 7505	_____	EA	GFI CIRCUIT BREAKER

23 - 7560	_____	EA	RECEPTACLE REPLACE

23 - 7565	_____	EA	RECEPTACLE--WIRE 15 AMP

23 - 7675	_____	EA	SWITCH REPLACE

23 - 7730	_____	EA	LIGHT FIXTURE--REPLACE

23 - 7740	_____	EA	LIGHT FIXTURE AND SWITCH

23 - 8110	_____	RM	REWIRE TO CODE--PER ROOM

23 - 7583	_____	EA	GFCI DEVICE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Laundry Area

21 - 6415	_____	EA	DRYER VENT--GCI

22 - 6785	_____	EA	GAS DRYER HOOK UP

22 - 7127	_____	EA	CLOTHES WASHING MACHINE HOOK-UP

22 - 7115	_____	EA	LAUNDRY TUB--SNGL BOWL REPLACE

22 - 7120	_____	EA	DRIPLESS CENTER--WASHER HOOK UP

22 - 7125	_____	EA	FAUCET--LAUNDRY TUB

23 - 7615	_____	EA	WASHER CIRCUIT 110\20 AMP

23 - 7620	_____	EA	DRYER CIRCUIT--30 AMP

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Bathroom

Walls & Ceiling

10 - 2405	_____	LF	BASEBOARD--RANCH

10 - 2415	_____	LF	SHOE MOLDING

10 - 2840	_____	EA	TRIM--WINDOW SET, INTERIOR

10 - 3310	_____	EA	TRIM--DOOR SET FINGER JOINTED

17 - 5205	_____	SF	DRYWALL--RENAIL & RETAPE

17 - 5245	_____	SF	DRYWALL--LAMINATE WATER RESIST

17 - 5280	_____	SF	DRYWALL--WATER RESISTANT

17 - 5355	_____	SF	PATCH PLASTER

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Flooring

20 - 5920	_____	SF	UNDERLAY AND VINYL TILE

20 - 5930	_____	SF	UNDERLAY & VINYL SHEET GOODS

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Insulation

16 - 4905	_____	SF	INSULATE WALL--R-13 BATT

16 - 4908	_____	SF	WALL INSULATION--DENSE PACK CELULOSE--GCI

16 - 4909	_____	SF	WALL INSULATION--DAMP SPRAY CELLULOSE-2X4 WALL--GCI

16 - 4912	_____	SF	INSULATE WALL/CEILING/FLOOR CAVITY-CLOSED CELL FOAM--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Doors

10 - 3260	_____	EA	REWORK INTERIOR DOOR

10 - 3285	_____	EA	LOCKSET--BATHROOM

10 - 3300	_____	EA	DOOR STOP--BASEBOARD MOUNT

10 - 3345	_____	EA	DOOR--FLUSH INT, HOLLOW CORE

10 - 3360	_____	EA	DOOR--PREHUNG PASSAGE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Windows

10 - 2775	_____	EA	SASH LOCK

10 - 2785	_____	PR	SASH CORDS

10 - 2795	_____	EA	WINDOW REPAIR

10 - 2810	_____	EA	GLASS REPLACE--WOOD SASH

10 - 2875	_____	EA	WOOD SASH--SINGLE GLAZED

10 - 2830	_____	EA	GLASS BLOCK

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Bathroom

Ceramic Tile

18 - 5405	_____	SF	CERAMIC TILE--REGROUT, CAULK

18 - 5410	_____	SF	CERAMIC TILE--REPAIR

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Painting

19 - 5567	_____	SF	PREP & PAINT VACANT ROOM w/ PAINTED TRIM-LOW VOC

19 - 5568	_____	SF	PREP & PAINT VACANT ROOM w/ NATURAL TRIM--LOW VOC--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7590	_____	EA	RECEPTACLE--GFCI BATH

23 - 7675	_____	EA	SWITCH REPLACE

23 - 7735	_____	EA	LIGHT FIXTURE GLOBE

23 - 7757	_____	EA	CFL REPLACEMENT LAMP

23 - 7819	_____	EA	FAN/LIGHT FIXTURE-ENERGY STAR--2008 GCI

23 - 7821	_____	EA	FAN/LIGHT FIXTURE-ENERGY STAR-CONTINUOUS MODULATING-MOTION DET

23 - 7822	_____	EA	FAN/LIGHT FIXTURE-ENERGY STAR-CONTINUOUS WITH SWITCH ACTIVATED

23 - 8017	_____	EA	ENERGY STAR CEILING FAN LIGHT FIXTURE--GCI

23 - 8137	_____	RM	UPDATE EXISTING ELECTRIC - BATHROOM--2008 GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

HVAC

21 - 6325	_____	EA	HEAT DUCT AND REGISTER

21 - 6339	_____	EA	RETURN AIR TRANSFER GRILL 12X6--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Plumbing

22 - 6958	_____	EA	BATHTUB/SHOWER--5' FIBERGLASS--COMPLETE--GCI

22 - 7183	_____	EA	BATH FIXTURES-WATER SAVING-2008 GCI

22 - 6875	_____	EA	FAUCET--LAVATORY SINGLE LEVER--GCI

22 - 6935	_____	EA	SHOWER HEAD--2 GPM--GCI

22 - 7012	_____	EA	COMMODE--REPLACE--1.3 GPF--2008 GCI

22 - 7014	_____	EA	COMMODE--REPLACE--Dual Flush--2008 GCI

22 - 7016	_____	EA	COMMODE--REPLACE--1.1 GPF--2008 GCI

10 - 3680	_____	EA	TUB SURROUND--PREFAB

10 - 4150	_____	EA	TUB END WALL

Bathroom

22 - 6645	_____	EA	SHUT-OFF VALVE

22 - 6865	_____	EA	FAUCET REPAIR--BATH

22 - 6945	_____	EA	BATHTUB--5' STEEL COMPLETE

22 - 6965	_____	EA	SHOWERSTALL--FIBERGLASS

22 - 7000	_____	EA	TOILET SEAT

22 - 7005	_____	EA	COMMODE--REFURBISH

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Accessories

10 - 3810	_____	EA	TOWEL BAR

10 - 3825	_____	EA	MEDICINE CABINET--SURF MOUNT

10 - 3835	_____	EA	ACCESSORY SET--6 PIECE CHROME

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Entire Interior

Walls & Ceiling

17 - 5270	_____	SF	DRYWALL--1/2"

17 - 5280	_____	SF	DRYWALL--WATER RESISTANT

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Painting

19 - 5567	_____	SF	PREP & PAINT VACANT ROOM w/ PAINTED TRIM-LOW VOC

19 - 5568	_____	SF	PREP & PAINT VACANT ROOM w/ NATURAL TRIM--LOW VOC--GCI

19 - 5610	_____	SF	VAPOR BARRIER PRIME--LOW VOC--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Exterior

Chimney

7 - 1330	_____	SF	CHIMNEY--REPOINT

7 - 1350	_____	LF	MASONRY CHIMNEY--REBUILD

15 - 4620	_____	EA	FLASH CHIMNEY

7 - 1340	_____	EA	CHIMNEY CAP

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Roof

15 - 4525	_____	SQ	ROOF--90 LB. ROLL

15 - 4490	_____	SF	ROOF SHEATHING 1/2"

15 - 4505	_____	SQ	ROOF--REPAIR AND RECOAT

15 - 4510	_____	SQ	ROOF-- 3-PLY BUILT-UP

15 - 4563	_____	SQ	STRIP ROOF TO SHEATHING

15 - 4570	_____	SQ	ROOFOVER--FIBERGLASS SHINGLE

15 - 4580	_____	SQ	TEAR OFF AND REROOF SHINGLES

15 - 4585	_____	SQ	REROOF--1/2" DECK/FIBERGLASS SHINGLE

15 - 4710	_____	LF	VENT--ALUMINUM RIDGE

15 - 4735	_____	LF	ROOF FLASHING--REPAIR

15 - 4755	_____	LF	FASCIA 1"X 6"

15 - 4760	_____	LF	SOFFIT

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Gutters & Downspouts

15 - 4635	_____	LF	GUTTER--5" SEAMLESS ALUMINUM

15 - 4640	_____	LF	DOWNSPOUT--5" SEAMLESS ALUMINUM

15 - 4665	_____	EA	SPLASH BLOCK

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Siding

10 - 2585	_____	SF	SIDING--CLAPBOARD REPLACE

10 - 2567	_____	SF	SIDING--HARDIPLANK--GCI

10 - 2615	_____	SF	SIDING--CEDAR SHINGLE REPAIR

10 - 2640	_____	SQ	SIDING---VINYL

10 - 2645	_____	LF	TRIM--WRAP WITH VINYL

10 - 2675	_____	SF	SIDING--ALUMINUM REPAIR

10 - 2705	_____	SF	STUCCO--PATCH

10 - 2745	_____	SF	SIDING--REPAIR CEMENT SHINGLES

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Exterior

Masonry

7 - 1105	_____	SF	FOUNDATON--PARGET

7 - 1125	_____	EA	FOUNDATION VENT--SMALL

7 - 1130	_____	EA	FOUNDATION VENT--LARGE

7 - 1135	_____	EA	FOUNDATION VENT SCREEN--REPLACE

7 - 1225	_____	SF	MASONRY--CLEAN

7 - 1230	_____	SF	MASONRY--REPOINT

7 - 1235	_____	SF	BRICK WALL REPAIR

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Doors

10 - 3065	_____	EA	DOOR--REWORK EXTERIOR

10 - 3075	_____	LF	DOOR CASING--REPLACE

10 - 3120	_____	EA	DOOR--REPL ENTRANCE HARDWARE

10 - 3145	_____	EA	DOOR--EXTERIOR FLUSH--SOLID CORE

10 - 3150	_____	EA	DOOR--EXTERIOR PANELED

10 - 3185	_____	EA	DOOR--PREHUNG METAL ENTRANCE

10 - 3205	_____	EA	SCREEN DOOR-WOODEN

10 - 3210	_____	EA	STORM DOOR--ALUMINUM

16 - 4805	_____	EA	WEATHERSTRIP WINDOW

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Windows

10 - 2980	_____	EA	WINDOW--VINYL DBL HNG DBL GLZ

10 - 2888	_____	EA	WINDOW--WOOD DBL HNG/DBL GLZ--REPLACEMENT PAC

10 - 3010	_____	EA	STORM WINDOW--ALUMINUM

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Porch

5 - 755	_____	SF	DEMO PORCH

6 - 865	_____	EA	FOOTING--PIER

10 - 3455	_____	LF	DECK JOIST--2"X 6" PTP

10 - 3470	_____	EA	POST--4"X 4"

10 - 3550	_____	SF	PORCH LATTICE--REPLACE

10 - 3560	_____	SF	PORCH--REBUILD

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Exterior

Porch Deck & Ceiling

6 - 905	_____	SF	CONCRETE SLAB--PATCH

6 - 930	_____	SF	CONCRETE--LIGHTWEIGHT DECK

10 - 3465	_____	SF	DECK--TONGUE AND GROOVE

10 - 3500	_____	SF	PORCH CEILING--1/4" BC PLYWOOD

10 - 3505	_____	SF	PORCH CEILING--T&G

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Rails

8 - 1460	_____	LF	METAL GUARD RAIL--WROUGHT

10 - 3515	_____	LF	PORCH GUARD RAIL REPAIR-WOOD

10 - 3522	_____	LF	WOOD STAIR HANDRAIL--REPLACE EXT

10 - 3525	_____	LF	GUARD RAIL--WOOD

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Steps

6 - 1035	_____	AL	STEPS--REPAIR CONCRETE

6 - 1045	_____	RI	STEPS AND LANDINGS--CONCRETE

10 - 3585	_____	EA	TREAD REPLACEMENT--EXTERIOR

10 - 3590	_____	EA	STEPS/LANDING--REPL EXTERIOR

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Painting

19 - 5677	_____	SF	PREP & PAINT EXTERIOR TRIM-LOW VOC--GCI

19 - 5679	_____	SF	PREP & PAINT EXTERIOR WOOD--LOW VOC--GCI

19 - 5785	_____	SF	PREP & PAINT EXTERIOR MASONRY

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7640	_____	EA	WEATHERPROOF RECEPTACLE

23 - 8166	_____	EA	EXTERIOR LIGHT FIXTURE-REPLACE--GCI

23 - 8160	_____	EA	ENTRANCE LIGHT

23 - 8165	_____	EA	ENTRANCE LIGHT FIXTURE--REPLACE

23 - 8175	_____	EA	FLOOD LIGHT--DOUBLE BULB

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Miscellaneous

5 - 750	_____	SF	DEMO OUTBUILDING

5 - 795	_____	LD	HAUL DEBRIS TO LANDFILL

10 - 3875	_____	EA	HOUSE NUMBER SET

Exterior

10 - 3885	_____	EA	MAILBOX

16 - 4904	_____	SF	AIR-SEAL--ISOLATE GARAGE--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Yard

4 - 315	_____	LF	FENCE--CHAIN LINK 4' HIGH

4 - 317	_____	EA	GATE--CHAIN LINK 4' HIGH

4 - 330	_____	LF	FENCE--STOCKADE 6' HIGH

4 - 420	_____	SY	SOD

4 - 440	_____	C	GROUND COVER—PACHYSANDRA

4 - 465	_____	EA	REMOVE TREE AND GRIND STUMP

4 - 475	_____	AL	LANDSCAPING ALLOWANCE

6 - 855	_____	SF	DEMO CONCRETE

6 - 920	_____	SF	CONCRETE REPAIR--OVERLAY

22 - 7133	_____	EA	HOSE BIBB--REPAIR

22 - 7135	_____	EA	HOSE BIBB

4 - 417	_____	SF	RSEED--FINE FESCUE--GCI

4 - 427	_____	EA	TREE—PLANT

4- 467	_____	EA	REMOVE TREE

4 - 550	_____	SF	REGRADE FOUNDATION--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

General Requirements

General Conditions

1 - 7	_____	EA	GREEN COMMUNITIES INITIATIVE-GEN REQ

1 - 10	_____	DU	OWNER ACCEPTS SCOPE OF WORK

1 - 14	_____	DU	CONTRACTOR ACCEPTS SCOPE OF WORK

1 - 28	_____	AL	VENTILATION-- ASHRAE 62.2-GENERAL REQUIREMENTS--2008 GCI

1 - 31	_____	GR	CONSTRUCTION DEFINITIONS

1 - 35	_____	GR	VERIFY QUANTITIES/MEASUREMENTS

1 - 37	_____	EA	ELECTRICAL PERMIT REQUIRED

1 - 38	_____	EA	PLUMBING PERMIT REQUIRED

1 - 39	_____	EA	HVAC PERMIT REQUIRED

1 - 45	_____	DU	CONRACTOR PRE-BID SITE VISIT

1 - 55	_____	GR	WORK TIMES

1 - 77	_____	GR	NEW MATERIALS REQUIRED

1 - 90	_____	DU	1 YEAR GENERAL WARRANTY

1 - 120	_____	RM	FINAL CLEAN

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Generic Interior Room

Walls & Ceiling

17 - 5235	_____	SF	LAMINATE 3/8" DRYWALL

17 - 5210	_____	SF	DRYWALL--PATCH--LARGE

17 - 5270	_____	SF	DRYWALL--1/2"

17 - 5355	_____	SF	PATCH PLASTER

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Flooring

10 - 2355	_____	SF	FLOOR--TONGUE AND GROOVE

10 - 2410	_____	LF	BASEBOARD--1"X4"

10 - 2415	_____	LF	SHOE MOLDING

18 - 5425	_____	SF	CERAMIC FLOOR TILE

19 - 5550	_____	RM	PREP & PAINT WOOD FLOOR

20 - 5920	_____	SF	UNDERLAY AND VINYL TILE

20 - 5965	_____	RM	CARPET AND PAD--REMOVE

20 - 5971	_____	SY	CARPET (BERBER) & PAD--GREEN LABEL--GCI

20 - 5972	_____	SY	CARPET (CUT PILE) & PAD--GREEN LABEL--GCI

10 - 2351	_____	SF	FLOOR--REFINISH WOOD LOW VOC--GCI

10 - 2377	_____	SF	FLOOR--BAMBOO T&G

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Insulation

16 - 4908	_____	SF	WALL INSULATION--DENSE PACK CELULOSE--GCI

16 - 4909	_____	SF	WALL INSULATION--DAMP SPRAY CELLULOSE-2X4 WALL--GCI

16 - 4912	_____	SF	INSULATE WALL/CEILING/FLOOR CAVITY-CLOSED CELL FOAM--GCI

16 - 4905	_____	SF	INSULATE WALL--R-13 BATT

16 - 4910	_____	SF	INSULATE WALL--R-19 BATT

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Closet

10 - 4010	_____	EA	CLOSET POLE

10 - 4015	_____	LF	CLOSET SHELF

10 - 4160	_____	EA	CLOSET--BEDROOM

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Doors

10 - 3255	_____	EA	DOOR--REMOVE

10 - 3260	_____	EA	REWORK INTERIOR DOOR

10 - 3275	_____	EA	PASSAGE LOCK

Generic Interior Room

10 - 3280	_____	EA	LOCKSET--BEDROOM

10 - 3300	_____	EA	DOOR STOP--BASEBOARD MOUNT

10 - 3310	_____	EA	TRIM--DOOR SET FINGER JOINTED

10 - 3345	_____	EA	DOOR--FLUSH INT, HOLLOW CORE

10 - 3360	_____	EA	DOOR--PREHUNG PASSAGE

10 - 3375	_____	EA	DOOR--WOOD BIFOLD

16 - 4810	_____	EA	WEATHERSTRIP DOOR

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Windows

10 - 2775	_____	EA	SASH LOCK

10 - 2810	_____	EA	GLASS REPLACE--WOOD SASH

10 - 2785	_____	PR	SASH CORDS

10 - 2795	_____	EA	WINDOW REPAIR

10 - 2840	_____	EA	TRIM--WINDOW SET, INTERIOR

16 - 4805	_____	EA	WEATHERSTRIP WINDOW

10 - 2888	_____	EA	WINDOW--WOOD DBL HNG/DBL GLZ--REPLACEMENT PAC

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Painting

19 - 5568	_____	SF	PREP & PAINT VACANT ROOM w/ NATURAL TRIM--LOW VOC--GCI

19 - 5567	_____	SF	PREP & PAINT VACANT ROOM w/ PAINTED TRIM-LOW VOC

19 - 5610	_____	SF	VAPOR BARRIER PRIME--LOW VOC--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7560	_____	EA	RECEPTACLE REPLACE

23 - 7565	_____	EA	RECEPTACLE--WIRE 15 AMP

23 - 7675	_____	EA	SWITCH REPLACE

23 - 7690	_____	EA	SWITCH LIGHT

23 - 7695	_____	EA	SWITCH WALL RECEPTACLE

23 - 7715	_____	EA	FIXTURE AND 3-WAY SWITCHES

23 - 7735	_____	EA	LIGHT FIXTURE GLOBE

23 - 7810	_____	EA	SMOKE DETECTOR--HARD WIRED

23 - 7752	_____	EA	ENERGY STAR  INTERIOR CEILING FIXTURE--GCI

23 - 7753	_____	EA	ENERGY STAR  INTERIOR WALL FIXTURE--GCI

23 - 7757	_____	EA	CFL REPLACEMENT LAMP

23 - 8017	_____	EA	ENERGY STAR CEILING FAN LIGHT FIXTURE--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Generic Interior Room

HVAC

21 - 6325	_____	EA	HEAT DUCT AND REGISTER

21 - 6380	_____	EA	SETBACK THERMOSTAT

21 - 6339	_____	EA	RETURN AIR TRANSFER GRILL 12X6--GCI

21 - 6340	_____	EA	RETURN AIR TRANSFER GRILL 12X12--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Kitchen

Walls & Ceiling

17 - 5205	_____	SF	DRYWALL--RENAIL & RETAPE

17 - 5210	_____	SF	DRYWALL--PATCH--LARGE

17 - 5235	_____	SF	LAMINATE 3/8" DRYWALL

17 - 5270	_____	SF	DRYWALL--1/2"

17 - 5355	_____	SF	PATCH PLASTER

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Flooring

10 - 2405	_____	LF	BASEBOARD--RANCH

20 - 5920	_____	SF	UNDERLAY AND VINYL TILE

20 - 5925	_____	SF	VINYL SHEET GOODS

20 - 5930	_____	SF	UNDERLAY & VINYL SHEET GOODS

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Insulation

16 - 4905	_____	SF	INSULATE WALL--R-13 BATT

16 - 4908	_____	SF	WALL INSULATION--DENSE PACK CELULOSE--GCI

16 - 4909	_____	SF	WALL INSULATION--DAMP SPRAY CELLULOSE-2X4 WALL--GCI

16 - 4912	_____	SF	INSULATE WALL/CEILING/FLOOR CAVITY-CLOSED CELL FOAM--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Doors

10 - 3255	_____	EA	DOOR--REMOVE

10 - 3260	_____	EA	REWORK INTERIOR DOOR

10 - 3300	_____	EA	DOOR STOP--BASEBOARD MOUNT

10 - 3315	_____	EA	TRIM--DOOR SET 1"X4"

10 - 3345	_____	EA	DOOR--FLUSH INT, HOLLOW CORE

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Windows

10 - 2775	_____	EA	SASH LOCK

10 - 2785	_____	PR	SASH CORDS

10 - 2795	_____	EA	WINDOW REPAIR

10 - 2810	_____	EA	GLASS REPLACE--WOOD SASH

10 - 2840	_____	EA	TRIM--WINDOW SET, INTERIOR

10 - 2880	_____	EA	WOOD SASH--DOUBLE GLAZED

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Kitchen

Painting

19 - 5567	_____	SF	PREP & PAINT VACANT ROOM w/ PAINTED TRIM-LOW VOC

19 - 5568	_____	SF	PREP & PAINT VACANT ROOM w/ NATURAL TRIM--LOW VOC--GCI

19 - 5610	_____	SF	VAPOR BARRIER PRIME--LOW VOC--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Cabinets & Shelving

10 - 3705	_____	LF	CABINETS--REPAIR

10 - 3716	_____	LF	CABINET - WOOD BASE-PLYWOOD--GCI

10 - 3717	_____	LF	CABINET - WOOD BASE--LOW VOC--GCI

10 - 3726	_____	LF	CABINET - WOOD WALL-PLYWOOD--GCI

10 - 3727	_____	LF	CABINET - WOOD WALL--LOW VOC--GCI

10 - 3747	_____	LF	REPLACE COUNTER TOP--PLASTIC LAMINATE--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7560	_____	EA	RECEPTACLE REPLACE

23 - 7575	_____	EA	20 AMP CIRCUIT--RECEPTACLE

23 - 7595	_____	EA	RECEPTACLE--GFCI COUNTERTOP 15 AMP

23 - 7675	_____	EA	SWITCH REPLACE

23 - 8005	_____	EA	PHONE OUTLET

23 - 7751	_____	EA	ENERGY STAR  KITCHEN CEILING FIXTURE--GCI

23 - 7757	_____	EA	CFL REPLACEMENT LAMP

23 - 7836	_____	EA	RANGE HOOD EXTERIOR VENTED--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

HVAC

21 - 6325	_____	EA	HEAT DUCT AND REGISTER

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Plumbing

22 - 6645	_____	EA	SHUT-OFF VALVE

22 - 6720	_____	EA	TRAP--REPLACE

22 - 6805	_____	EA	FAUCET REPAIR--KITCHEN

22 - 6810	_____	EA	FAUCET--KITCHEN SNGL LEVER--GCI

22 - 6835	_____	EA	SINK--DOUBLE BOWL COMPLETE--GCI

22 - 6830	_____	EA	SINK--SINGLE BOWL COMPLETE--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Kitchen

Appliances

25 - 8415	_____	EA	GAS STOVE--30"

25 - 8440	_____	EA	ELECTRIC STOVE--30"

25 - 8475	_____	EA	REFRIGERATOR--18 CF--ENERGY STAR

25 - 8491	_____	EA	DISHWASHER--2 CYCLE--GCI

25 - 8510	_____	EA	WASHER-DRYER--STACKED--ENERGY STAR

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Stairs

Walls & Ceiling

17 - 5205	_____	SF	DRYWALL--RENAIL & RETAPE

17 - 5210	_____	SF	DRYWALL--PATCH--LARGE

17 - 5235	_____	SF	LAMINATE 3/8" DRYWALL

17 - 5270	_____	SF	DRYWALL--1/2"

17 - 5355	_____	SF	PATCH PLASTER

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Steps & Handrails

10 - 2505	_____	LF	RAILING--WOOD REPAIR

10 - 2510	_____	EA	TREAD REPLACEMENT--INTERIOR

10 - 2515	_____	EA	HANDRAIL BRACE

10 - 2520	_____	LF	HANDRAIL--REPLACE INTERIOR

10 - 2525	_____	LF	HAND RAIL WITH BALUSTERS

10 - 2535	_____	FL	STAIRCASE--INTERIOR CLOSED

10 - 2540	_____	EA	STAIRCASE--REPLACE BASEMENT

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Flooring

10 - 2355	_____	SF	FLOOR--TONGUE AND GROOVE

20 - 5910	_____	SF	VINYL TILE FLOOR--REPAIR

20 - 5920	_____	SF	UNDERLAY AND VINYL TILE

20 - 5965	_____	RM	CARPET AND PAD--REMOVE

10 - 2351	_____	SF	FLOOR--REFINISH WOOD LOW VOC--GCI

20 - 5971	_____	SY	CARPET (BERBER) & PAD--GREEN LABEL--GCI

20 - 5972	_____	SY	CARPET (CUT PILE) & PAD--GREEN LABEL--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Windows

10 - 2775	_____	EA	SASH LOCK

10 - 2785	_____	PR	SASH CORDS

10 - 2795	_____	EA	WINDOW REPAIR

10 - 2810	_____	EA	GLASS REPLACE--WOOD SASH

10 - 2880	_____	EA	WOOD SASH--DOUBLE GLAZED

10 - 2887	_____	EA	WINDOW--WOOD DBL HNG/DBL GLZ

16 - 4805	_____	EA	WEATHERSTRIP WINDOW

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Painting

Stairs

19 - 5550	_____	RM	PREP & PAINT WOOD FLOOR

19 - 5567	_____	SF	PREP & PAINT VACANT ROOM w/ PAINTED TRIM-LOW VOC

19 - 5568	_____	SF	PREP & PAINT VACANT ROOM w/ NATURAL TRIM--LOW VOC--GCI

19 - 5610	_____	SF	VAPOR BARRIER PRIME--LOW VOC--GCI

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

Electric

23 - 7675	_____	EA	SWITCH REPLACE

23 - 7710	_____	EA	3-WAY SWITCHES

23 - 7715	_____	EA	FIXTURE AND 3-WAY SWITCHES

23 - 7730	_____	EA	LIGHT FIXTURE--REPLACE

23 - 7810	_____	EA	SMOKE DETECTOR--HARD WIRED

___ - ______	_____	_____	_____________________________________________________________________________

___ - ______	_____	_____	_____________________________________________________________________________

# Text boxes

This resource is part of the NSP Toolkits. Additional toolkit resources may be found at www.hud.gov/nspta

Sample Housing Rehabilitation Checklist

If a required work item is not on the standard list you can add it on the blank lines.

You can add notes for the Line Item to the right such as special instructions to the contractor.

Enter a Quantity per the Unit of Measure to signify that you have selected this line item of work.