About this Tool

Description:

The Sample Single-Family Housing Rehabilitation Standard is a template for creating a minimum performance standard for a rehab program.  The standard is a guide for decision-making—about what specifications should be applied in what situations to produce uniformly safe, decent, durable and high-performing homes. It includes a number of green building items and corresponds to two other documents in the NSP Resource Exchange: the Sample Single-Family Rehabilitation Specifications and the Sample Housing Rehabilitation Checklist. This three-document set includes green building performance standards and specifications.

How to Adapt this Document:

This document should not be used as-is. Customization is required to make the individual performance standards relevant for your housing program. In the process of customization, users should adapt this document to the local climate, housing stock and program goals.  These sample standards are designed to be used with one- to four-unit dwellings of three stories or less.  Many of the standards might apply to multifamily properties, but multifamily properties are generally subject to more stringent life-safety code and other code requirements, and often have more complex requirements for egress, fire ratings, common areas, parking and mechanical systems, among other differences.

Source of Document:

The standards in this document were adapted from a template used by Livable Housing, Inc., a consulting and training firm, and were based on a number of similar documents used in various housing rehabilitation programs. The standards with the suffix [GREEN STANDARD] were added with the assistance of Enterprise Community Partners and intended to be used for including “green rehab” improvements that follow accepted national green building standards such as LEED and the Green Communities Criteria.

Disclaimer:

This document is not an official HUD document and has not been reviewed by HUD counsel. It is provided for informational purposes only. Any binding agreement should be reviewed by attorneys for the parties to the agreement and must conform to state and local law.

Sample Single-Family Housing Rehabilitation Standard

The Sample Single-Family Housing Rehabilitation Standard is a template for creating a minimum performance standard for a rehab program.  The standard is a guide for decision-making—about what specifications should be applied in what situations to produce uniformly safe, decent, durable and high-performing homes.

This is one of three sample documents that are intended to be used as a set. The Sample Single-Family Housing Rehabilitation Specifications are designed to give clear directions to contractors in work write-ups that are incorporated in rehabilitation contracts.  The Sample Single-Family Rehabilitation Checklist is a paper tool for field inspections that enables an inspector to accurately identify items to include in the more detailed work write-up that becomes part of the contract documents. The Checklist items correspond to the Specification items.

This document set was prepared by Armand C. Magnelli, principal with Community Development Software LLC and president of Livable Housing, Inc., a consulting and training firm. Amy Hook, program director the Green Communities initiative of Enterprise Community Partners, was a contributor and reviewer. The standards in this document were adapted from a template used by Mr. Magnelli and were based on a number of similar documents used in various housing rehabilitation programs. The standards with the suffix [GREEN STANDARD] were added with the assistance of Enterprise Community Partners and intended to be used for including “green-build” improvements that follow national green building standards such as LEED and the Green Communities Criteria.

Each of the documents is a template and, as such, customization is required to make each relevant for your housing program. In the process of customization, you should adapt these documents to your local climate, housing stock and program goals.  Users should consider the following factors in their customization:

- Building types that may differ

- Costs and budget considerations

- Zoning codes

- Housing codes

- Regulatory requirements

- Climate

- Marketability

- Local product availability

For example, with regard to regulatory requirements, if a program is using CDBG funds, the regulations call for rather minimal “decent, safe and sanitary” performance standards, while the federal Neighborhood Stabilization Program allows for improvements that make the home more marketable—such as installing Energy Star dishwashers, washing machines and dryers—which are not allowed in the CDBG program as of this writing.

This sample Standard is designed to be used with one- to four-unit dwellings of three stories or less.  Some of the standards might apply to multifamily properties, but in most locations, multifamily properties are generally subject to more stringent life-safety code and other code requirements, and often have more complex requirements for egress, common areas, parking and mechanical systems.

These standards often describe the minimum requirements in a variety of ways including:

- Remaining useful life of a component such as a roof

- The referencing of other standards such as the ASHRAE 62.2 standard for ventilation

- Minimum requirements for the materials used such as insulation or plumbing fixtures

- The minimum quantity of a component that is acceptable such as lineal feet of countertop in a kitchen

- The requirements of regulatory agencies such as the Environmental Protection Agency (EPA); Housing or Zoning Codes; federal, state and local Historic Preservation requirements

- The requirements of funders such as HUD (CDBG, HOME, NSP) or local governments, including the Environmental Review process.

This template provides an example of a standard but does not capture the specific requirements of your locale or housing program. The successful implementation of the NSP Single-Family Housing Rehabilitation Standard requires research into the various regulatory requirements of your program, an analysis of your local market to determine standard treatments, and a clear vision of your project budgets.  Careful review is required for every section of the document to ensure it reflects the requirements of your organization’s programs, clients, housing stock and climate.

In the NSP Single-Family Housing Rehabilitation Standard, you will typically find both a Repair Standard and a Replacement Standard for each category of component listed.  The Repair Standard defines how to meet the standard by repairing the respective component.  The Replacement Standard defines how to meet the standard when replacing or installing the respective new component.  There are limited instances where only one standard applies.

Throughout the document you will see a symbol - [GREEN STANDARD]. This symbol represents a standard that accomplishes one or more of the following:

- Conserve water

- Conserve energy

- Provide the resident with a healthier living environment

- Reduce impact on the natural environment

- Create a more sustainable product lifetime

In order to access further and more detailed information, hyperlinks to useful web sites are included in this document. They can serve as a valuable resource.

Format of the NSP Single-Family Housing Rehabilitation Standard

- Mission and Housing Values

- Applicable Laws and Regulations

- Categories of Standards:

  - Health & Safety

  - Site

  - Exterior Building Surfaces

  - Foundations & Structure

  - Windows & Doors

  - Roofing

  - Insulation & Ventilation

  - Interior Standards

  - Electric

  - Plumbing System

  - HVAC

  - Appliances

Mission and Housing Values

In our example specs, the developer’s mission is “to eliminate neighborhood blight through renovation and demolition while providing low -income families with safe, secure and affordable homes.”

The ranking of primary considerations from the program’s mission is as follows:

- Health and Safety

- Performance and durability

- Life cycle cost

- Affordable operating cost

- Balanced initial cost

- Environmental impact

- Historically sensitive exterior

Applicable Laws and Regulations

The developer intends to construct and maintain homes in full compliance with the following statutory and regulatory requirements:

- HUD Environmental Review

- Building Code: International Residential Code

- Housing Code: The local housing code

- Federal Housing Code: Housing Quality Standards

- Life Safety Code: Life Safety Code

- HAZMAT: HUD requirements for specific programs

The developer will seek guidance and strive to conform to the following codes if financial resources are available for a specific project:

- Energy: 2009 International Energy Conservation Code (IECC)

- Accessibility: ANSI standards for accessibility by disabled residents

- HAZMAT: HUD Guidelines for the Evaluation and Control of Lead-Based Paint Hazards in Housing

- Building Code: CABO 1-4 Unit Dwelling Code

- Exceptions: On a case-by-case basis, deviations from the minimum requirements of this standard will be permitted with approval of the appropriate local agency

1 Health & Safety

| Contaminants [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 yrs. |
| NA |
| Replacement Standard |  |
| All materials installed will meet the following standards to minimize the presence of Volatile Organic Compounds (VOC) and Formaldehyde: All paints and primers must meet the most recent Green Seal G-11 Environmental Standard. Http://www.greenseal.org/certification/standards/paints_and_coatings.pdf Adhesives must comply with Rule 1168 of the South Coast Air Quality Management District. http://www.aqmd.gov/rules/reg/reg11/r1168.pdf All caulks and sealants, including floor finishes, must comply with regulation 8, rule 51, of the Bay Area Air Quality Management District. All particleboard components will meet ANSI A208.1 for formaldehyde emission limits, or all exposed particleboard edges will be sealed with a low-VOC sealant or have a factory-applied, low-VOC sealant prior to installation. All MDF edges will meet ANSI A208.2 for formaldehyde emission limits, or all exposed MDF edges will be sealed with a low-VOC sealant or have a factory-applied, low-VOC sealant prior to installation. |

| Lead Based Paint (LBP) [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 yrs. |
| For all houses constructed prior to 1978 - four (4) floors, two (2) window sills and two (2) window troughs (all randomly selected) plus a blank sample must be submitted to an EPA-accredited lead analytical laboratory and the dust samples must pass a dust wipe test for lead content as per the protocol in the HUD Guidelines. Lead-safe work practices must be followed, and only certified abatement contractors used to perform the work. See: http://www.hud.gov/offices/lead/lbp/hudguidelines/ |
| Replacement Standard | Minimum Life 20 yrs. |
| When stabilization of surfaces containing LBP is impractical, the most affordable solution for abatement of the component will be chosen. Walls containing LBP may be covered with drywall or gutted and replaced with drywall. Trim and other wood or metal components containing LBP may be removed and replaced with similar materials. Lead-safe work practices must be followed, and only certified abatement contractors used to perform the work. |

| Asbestos [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life NA |
| Non-friable intact Asbestos materials that are not creating a hazard such as cementitious exterior wall shingles may be left intact and painted if appropriate. Asbestos-resilient floor tiles may be labeled as such and covered with underlayment and new resilient flooring. |
| Replacement Standard | Minimum Life NA |
| Friable asbestos components such as boiler or pipe insulation, badly deteriorated cementitious shingles or deteriorated flooring will be removed and, if necessary, replaced with non-hazardous materials. |

| Radon [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 yrs. |
| All housing in this program will be subject to a “Short Term” Radon Test, and if the result is a reading of 4 pCi/L or higher, a follow-up “Short Term” test will be performed. When a second test is required, average the results. If the average is above 4 pCi/L, remediation will be required. |
| Replacement Standard | Minimum Life 20 yrs. |
| If, as a result of the testing above, there is a presence of Radon at or above the 4 pCi/L level, remediation will be undertaken per the EPA guidance in their Consumer’s Guide to Radon Reduction. Http://www.epa.gov/radon/pubs/consguid.html |

| Mold [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life NA |
| Any presence of mold is unacceptable and must be addressed per the National Center for Healthy Housing protocol “Creating a Healthy Home.” http://www.nchh.org/Portals/0/Contents/FloodCleanupGuide_screen_.pdf |
| Replacement Standard | Minimum Life NA |
| All carpeting, drywall or other gypsum-based wall coverings or any other non-structural components with mold present will be removed and replaced. The National Center for Healthy Housing protocol “Creating a Healthy Home” will be followed for remediation of structural components. |

| Fire Safety - Egress |
| --- |
| Repair Standard | Minimum Life NA |
| NA |
| Replacement Standard | Minimum Life NA |
| Egress windows are required in all new sleeping and living areas unless other secondary means of escape requirements are met. The minimum dimensions for egress window clear openings are 20” wide by 24” tall, with a clear opening of 5.7 square feet. No bedrooms should be created in attics or basements unless Life Safety Code egress requirements are met. |

| Fire and CO Alarms [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 years |
| Existing fire and smoke, carbon monoxide and security systems that meet code will be repaired to operating condition. |
| Replacement Standard |
| Directly wired smoke detectors are required on each dwelling floor and in all bedrooms. CO detectors are required with all fuel-burning furnaces and water heaters in sleep areas and on each floor level. |

2 - Site

| Grading [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 yrs. |
| All grading adjacent to the building and for a distance of at least 10 feet away from the building will slope away from the structure at a pitch of at least 1 inch per foot. All bare earth will be reseeded or sod will be installed to cover. |
| Replacement Standard |  |
| NA |

| Outbuildings |
| --- |
| Repair Standard | Minimum Life 5 yrs. |
| Unsafe and blighted structures, including outbuildings, will be removed if it is not financially feasible to complete the repairs required to make them structurally sound, leak-free, with lead hazards stabilized. Detached garages should have operable and lockable doors and windows. |
| Replacement Standard |  |
| No outbuilding replacement is permitted in this program. |

| Fencing |
| --- |
| Repair Standard | Minimum Life 3 yrs. |
| Fencing on property lines is preferred. If repairs are needed, replacing sections in kind is permissible if the budget permits. |
| Replacement Standard |
| Wholesale replacement of deteriorated fencing is discouraged and should only be undertaken if the budget permits. |

| Paving And Walks [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 yrs. |
| Essential paving, such as front sidewalks and driveways with minor defects, will be repaired to match. Tripping hazards greater than ¾” must be addressed. Non-essential, highly deteriorated paving, such as sidewalks that are unnecessary, will be removed and appropriately landscaped. |
| Replacement Standard |
| Un-repairable essential walks and driveways will be replaced with permeable paving when financially feasible or concrete per City Ordinance. Wood-framed, handicapped-accessible ramps are an eligible expense. |

| Trees and Shrubbery [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 yrs |
| Trees that are dead, dying, or hazardous will be removed. Removal will include cutting close to the ground, grinding of the stump to 12 inches below the finished grade, installation of topsoil and re-seeding. |
| Replacement Standard |
| Replacement trees and shrubs are permitted if economically feasible and must be selected from the State Extension Service list of local, drought-resistant and non-invasive plant materials. In placement of trees, attention should be paid to shading the house to reduce air conditioning costs. Also, trees should be located a sufficient distance from foundations, sidewalls, walkways, driveways, patios and sidewalks in order to avoid future damage from root growth and branches brushing against the structure. Setbacks from structures should typically exceed half of the canopy diameter of a full-grown example of the species. |

| Lawn [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 1 yrs. |
| Bare section of lawn will be reseeded with State Extension Service-recommended, drought-resistant varieties such as Tall Fescue. |
| Replacement Standard |
| Wholesale replacement of lawn grasses is not allowed, over-seeding is permitted with State Extension Service-recommended, drought-resistant varieties such as Tall Fescue. |

3 - Exterior Building Surfaces

| Exterior Cladding [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 10 years |
| Siding and trim will be intact and weatherproof. All exterior wood components will have a minimum of one continuous coat of paint, and no exterior painted surface will have any deteriorated paint. Buildings designated as historic will have existing wood siding repaired in kind. New exterior wood will blend with existing and will be spot-primed and top-coated in a lead-safe manner. |
| Replacement Standard |
| Buildings not designated as historic may have siding replaced with vinyl siding to match the existing configuration. CertainTeed, Mastic, and Wolverine brands are approved. If replaced, soffit material will be vented/perforated vinyl. New wood components will be FSC certified. http://www.fsc.org/ |

| Exterior Porches |
| --- |
| Repair Standard | Minimum Life 5 years |
| Deteriorated concrete porches will be repaired when possible. Unsafe wood porch components will be repaired with readily available materials to conform closely to historically accurate porches in the neighborhood. Porch repairs will be structurally sound, with smooth and even decking surfaces. Deteriorated wood structural components will be replaced with preservative-treated wood. |
| Replacement Standard |
| Porches on building designated as historic will be rebuilt to conform closely to historically accurate porches in the neighborhood. Decks on non-historic porches will be replaced with 5/4” preservative-treated decking. Replaced railings will meet code. Replaced wood structural components will be preservative-treated. |

| Exterior Railings |
| --- |
| Repair Standard | Minimum Life 5 years |
| Existing handrails will be structurally sound. Guard rails are required on any accessible area with a walking surface over 30" above the adjacent ground level. Sound railings may be repaired if it is possible to maintain the existing style. On historic structures railing repairs will be historically sensitive. |
| Replacement Standard |
| Handrails will be present on one side of all interior and exterior steps or stairways with more than two risers and around porches or platforms over 30" above the adjacent ground level, and will meet local codes. Handrails and guard rails will conform to the style of similar components in the neighborhood. On historic structures new railings will be historically sensitive. |

| Exterior Steps and Decks |
| --- |
| Repair Standard | Minimum Life 5 years |
| Steps, stairways, and porch decks will be structurally sound, reasonably level, with smooth and even surfaces. Repairs will match existing materials, |
| Replacement Standard |
| In non-historic structures wood decking may be replaced with 5/4” X 6” preservative-treated material and new steps will be constructed from nominal 2” preservative-treated wood. On historic structures new wood decking will be ¾” clear T & G fir, primed on all 6 sides before installation. |

| Exterior House Numbers and Mailboxes |
| --- |
| Repair & Replacement Standard | Minimum Life 5 years |
| All houses will have 4” house numbers clearly displayed near the front door, and a standard size mailbox, preferably wall-hung at the entrance. |

4 - Foundations & Structure

| Firewalls |
| --- |
| Repair Standard | Minimum Life 5 years |
| Party walls will be maintained without cracks and plaster deterioration and covered with 5/8" type X gypsum, glued and screwed to structure. |
| Replacement Standard |
| When frame walls and floors adjoining other dwellings are gutted, new wall finish installations will conform to local requirements for fire ratings. |

| Foundations |
| --- |
| Repair Standard | Minimum Life 15 years |
| Foundations will be repaired to be sound, reasonably level, and free from movement. |
| Replacement Standard |
| Foundation replacements are beyond the scope of the program. |

| Structural Walls |
| --- |
| Repair Standard | Minimum Life 15 years |
| Structural framing and masonry will be free from visible deterioration, rot, or serious termite damage, and be adequately sized for current loads. Prior to rehab, all sagging floor joists or rafters will be visually inspected, and significant structural damage and its cause will be corrected. |
| Replacement Standard |
| New structural walls will be minimum 2" x 4", 16" OC. All exterior walls that are part of the building envelope (the air barrier and thermal barrier separating the conditioned space from the non-conditioned space) will be insulated with a minimum R-13 insulation and sheathed to code. |

| Additions |
| --- |
| Repair Standard | Minimum Life NA |
| NA |
| Replacement Standard | Minimum Life 60 years |
| New additions are acceptable only when – for marketing and livability reasons – it is necessary to add additional bedroom space. Stamped plans must be submitted to the City Building Official for review and approval prior to bidding. All standards for Exterior Building Surfaces, Roofing, Windows and Doors, Insulation and Ventilation, Plumbing, Electrical, HVAC apply. |

5 - Windows and Doors

| Interior Doors |
| --- |
| Repair Standard | Minimum Life 5 years |
| Baths and occupied bedrooms will have operating doors and lock sets. |
| Replacement Standard |
| Hollow-core, pressed-wood product consistent with the style of existing doors including a brass-plated bedroom lock set. |

| Exterior Doors |
| --- |
| Repair Standard | Minimum Life 5 years |
| Exterior doors will be solid, weather-stripped and will operate smoothly. They will include a peep site, a dead bolt, and an entrance lock set. |
| Replacement Standard |
| Replacement doors at the front of the property for historically significant buildings will be historically sensitive. Steel, six-panel doors may be installed at entrances not visible from the front street and on the front of the property for buildings that are not historically significant. Dead bolt locks will be installed on all exterior doors keyed to match. All new doors will be weather-stripped to be air tight. |

| Windows [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life NA |
| All windows will operate, remain in an open position when placed there, lock when closed and the open section will be covered with a screen. |
| Replacement Standard |
| Windows that are not repairable may be replaced and will meet the ENERGY STAR standard for this geographic region. http://www.energystar.gov/index.cfm?c=windows_doors.pr_anat_window Windows on key façades of historically sensitive properties will be wood of the style original to the building. New windows on other properties may be vinyl and double-glazed. |

| Basement Windows |
| --- |
| Repair Standard | Minimum Life 5 years |
| A minimum of 2 basement windows on opposite sides of the building must be operable for ventilation, in good working order, and lockable. |
| Replacement Standard |
| Basement windows may be replaced with glass block. If so, a minimum of 2 glass block windows on opposite sides of the building must have operable and lockable center vents. |

6 - Roofing

| Flat and Low-Slope Roofing |
| --- |
| Repair Standard | Minimum Life 2 years |
| Built-up roofing that is leak-free will be re-coated and flashing and accessories repaired if their minimum life is questionable. |
| Replacement Standard |
| The most cost-effective roof – either 3-ply, hot built-up or EPDM – will be installed. |

| Pitched Roofs |
| --- |
| Repair Standard | Minimum Life 5 years |
| Missing and leaking shingles and flashing will be repaired on otherwise functional roofs. Slate, metal and tile roofs will be repaired when possible. Antennae will be removed. |
| Replacement Standard |
| No more than 2 layers of roofing are permitted. Fiberglass, asphalt, 3-tab, class A shingles with a prorated 25-year warranty with a continuous ridge vent will be installed over 15-lb. felt with new drip edge on all edges. |

| Gutters and Downspouts [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 years |
| Gutters and downspouts must be in good repair, leak free and collect storm water from all lower roof edges. Concrete splash blocks will be installed to move water away from the foundation. The system must move all storm water away from the building and prevent water from entering the structure. In addition to positive drainage away from the building, outlets will be a minimum of 3 feet away from the foundation whenever there is a history of water problems. |
| Replacement Standard |
| Gutters and downspouts will be installed and collect storm water from all lower roof edges. Concrete splash blocks will be installed to move water away from the foundation. The system must move all storm water away from the building and prevent water from entering the structure. In addition to positive drainage away from the building, outlets will be a minimum of 3 feet away from the foundation whenever there is a history of water problems. |

7 - Insulation and Ventilation

| Infiltration [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life |
| All homes or units will be tested with a Blower Door and any existing air sealing will be repaired to attain a maximum 0.35 Air Changes per Hour at 50 Pascal pressure (0.35 ACH50). |
| Replacement Standard |
| All homes or units will be air sealed to meet the minimum Blower Door test requirements of 0.35 Air Changes per Hour at 50 Pascal pressure (0.35 ACH50). |
| Insulation [GREEN STANDARD] |
| Repair Standard | Minimum Life NA |
| NA |
| Replacement Standard | Minimum Life 20 years |
| The envelopes of all homes of units will have a continuous air barrier and a continuous thermal barrier that is in contact with the air barrier. Attic insulation shall be a minimum of R38 with soffit baffles installed when there are soffit vents to maintain ventilation at the eves. All exterior walls opened in the course of renovations shall be insulated with un-faced fiberglass batts or damp spray cellulose to R13 for 2x4 framing and R19 for 2x6 framing. Whenever financially feasible, 1-inch, foil-faced polyisocyanurate foam board will be added under new siding. Rim joists will be insulated to R19 with either foil-faced foam board or Class 1-rated spray foam. Crawl space walls shall be insulated with 1-inch, foil-faced polyisocyanurate foam board and a 6-mil plastic vapor barrier will be installed continuously over the ground to the sill plate with all seams sealed. The ENERGY STAR Thermal Bypass Inspection Checklist shall be completed for each home. http://www.energystar.gov/ia/partners/bldrs_lenders_raters/downloads/Thermal_Bypass_Inspection_Checklist.pdf |

| Whole House Ventilation [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 years |
| All homes shall meet the most recent ASHRAE 62.2 standard by using one bathroom fan continuously operating at a verified CFM rate sufficient to meet the ASHRAE standard and creating < 0.3 Sones of fan noise. The fan will also have a > 80 CFM boost function switched one of three ways: by a switch at the entrance, with an adjustable time-delay function that runs the fan for an additional period after the switch is turned off; or a motion detector with an adjustable time-delay function that runs the fan for an additional period after the motion detector ceases to see motion; or by a humidistat. |
| Replacement Standard |
| As stated in the Repair Standard |

| Bath Ventilation [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life NA |
| NA |
| Replacement Standard | Minimum Life 10 years |
| One bathroom must have a bath fan that meets the Whole House Ventilation requirement and also have a > 80 CFM boost function switched one of three ways: by a switch at the entrance, with an adjustable time-delay function that runs the fan for an additional period after the switch is turned off; or a motion detector with an adjustable time-delay function that runs the fan for an additional period after the motion detector ceases to see motion; or by a humidistat. Any additional bathrooms must be mechanically vented to the > 80 CFM standard with the time-delay switching described above. |

| Kitchen Ventilation [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 2 years |
| All kitchens must have functional mechanical ventilation operating at a minimum 120 CFM. |
| Replacement Standard |
| All kitchens must have mechanical ventilation operating at a maximum of 20 Sones and producing a minimum of 150 CFM after accounting for ducting losses. All ductwork will be heavy gauge galvanized metal, air tight with mastic-sealed seams (no duct tape). It is preferred that mechanical ventilation exit at side walls and not at the soffit to minimize the potential for ice damming. |

| Roof Ventilation [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 5 years |
| 1 square foot of free venting must be supplied for every SF of area directly under the roof if there is no soffit venting. 1 square foot of free venting must be supplied for every 300 SF of area directly under the roof if 20% of the venting is soffit vent and if the living space ceiling directly below the roof has a rating of one perm or less. (1 perm is achievable with a coating of ICI Dulux Ultra Hide Vapor Barrier paint 1060-1200 per manufacturer’s instructions) |
| Replacement Standard |
| The venting requirement is the same as with the Repair Standard above with a strong preference for a combination of ridge vents, soffit vents and the one perm-rated ceiling required for the 1 to 300 ratio. |

8 - Interior Standards

| Interior Walls and Ceilings |
| --- |
| Repair Standard | Minimum Life 3 years |
| Holes, cracks and deteriorated and un-keyed plaster will be repaired to match the surrounding surfaces. All visual surfaces will be stabilized to minimize lead paint hazards using premium vinyl acrylic paint. |
| Replacement Standard |
| When necessary plaster will be replace by ½” gypsum board. Fire-rated assemblies will be specified on a project-by-project basis as required by local codes. |

| Flooring [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 3 years |
| Bathroom, kitchen and other water-susceptible floor areas will be covered with water-resistant flooring that is free from tears or tripping hazards. Damaged wood floor will be repaired. When existing deteriorated carpet is installed over hardwood floors, the hardwood will be refinished whenever possible. Basement floors will be continuous concrete at least 1" thick. |
| Replacement Standard |
| Baths will receive resilient sheet goods over plywood underlayment, and kitchens will receive resilient sheet goods or tile over plywood underlayment. Whenever possible rooms other than kitchens and baths with existing wood flooring will be maintained as wood floors and refinished when appropriate. Rooms other than kitchens or baths without usable wood floors may be finished with carpet and associated products that are Carpet and Rug Institute’s Green Label certified. New basement slabs will be at least 3" thick and have a 6-mil vapor barrier. |

| Closets |
| --- |
| Repair Standard | Minimum Life 5 years |
| Existing closets with a minimum depth of 2 feet will be maintained in good repair and have a shelf and clothes rod. |
| Replacement Standard |
| New closets may be created if there is a significant lack of storage space and the budget permits. New closets will have a depth of 2 feet and include a shelf and clothes rod. |

| Kitchen Cabinets and Countertop [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 3 years |
| Kitchens will have a minimum of 10 feet of countertop with base and wall cabinets (or dishwasher) to match. Existing cabinets with hardwood doors and face frames may be repaired if in good condition. All cabinets will be sound and cleanable. |
| Replacement Standard |
| New kitchen cabinets will meet the ANSI A208.1 and A208.2 standard for formaldehyde content of particleboard and MDF, or have exposed edges of particleboard and MDF sealed to prevent the out-gassing of formaldehyde. Cabinets will have hardwood doors and face frames. There will be a minimum of 10 lineal feet of post-formed countertop with corresponding base cabinets and wall cabinets, and a dishwasher. Corners in countertop designs are permitted if factory assembled. A drawer base (12” or 15”) will be included in new cabinetry. A plastic laminate panel to match the countertop will be installed as a base cabinet to wall cabinet backsplash behind the range and extending 6 inches past the range on both sides, or if the range is in a corner along the side wall and trimmed with chrome metal edging. |

9 - Electric

| Ground Fault Interrupter Circuits |
| --- |
| Repair Standard | Minimum Life 5 years |
| Non-functioning GFCIs will be replaced. Kitchen counter, bath and laundry receptacles within 6' of a sink will be replaced with a GFCI-protected receptacle or protected by a GFCI device. |
| Replacement Standard |
| Kitchen counter, bath and laundry receptacles within 6' of a sink will be replaced with a GFCI-protected receptacle or protected by a GFCI device. |

| Passage Lighting [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 7 years |
| All lights and switches in hallways, stairs and other passages will be operable and safe. Existing fixtures with incandescent lamp fittings will have minimum 7W CFL replacement lamps installed. |
| Replacement Standard |
| All halls, stairs and rooms necessary to cross to other rooms and stairways must be well lit and controlled by a 3-way switch using concealed wiring. Attics, basements and crawl spaces must have utility fixtures. All new light fixtures will be ENERGY STAR labeled. |

| Kitchen Electric Distribution |
| --- |
| Repair Standard | Minimum Life 5 years |
| Existing receptacles, fixtures and switches will be safe and grounded. |
| Replacement Standard |
| Permanently installed or proposed stoves, refrigerators, freezers, dishwashers and disposals, washers and dryers will have separate circuits sized to N.E.C. Two separate 20-amp counter circuits are required with each kitchen area. |

| Interior Electric Distribution |
| --- |
| Repair Standard | Minimum Life 7 years |
| Exposed knob and tube will be replaced. Every room will have a minimum of two duplex receptacles, placed on separate walls and one light fixture or receptacle switched at each room entrance. Where the source wiring circuit is accessible (e.g.. first floor above basements, in gutted rooms, etc.), receptacles will be grounded. All switch, receptacle, and junction boxes will have appropriate cover plates. Wiring will be free from hazard, and all circuits will be properly protected at the panel. Floor receptacles will be removed and a metal cover plate installed. Exposed conduit is allowed. Bedrooms receptacles will be protected by an Arc Fault breaker. There must be one electrical receptacle at the service panel. Basements will have a minimum of 3 keyless bare bulb fixtures switched at the top of the stairs. |
| Replacement Standard |
| When a room's wall finishes are removed, it will be rewired to the latest version of the National Electric Code. |

| Service and Panel |
| --- |
| Repair Standard | Minimum Life 10 years |
| Distribution panels will have a main disconnect, at least 10 circuit-breaker-protected circuits, a 100-amp minimum capacity and be adequate to safely supply existing and proposed devices. If a working central air conditioning system is present, the minimum service will be 150 amp. |
| Replacement Standard |
| 200-amp service with a main disconnect panel containing at least 30 circuit breaker positions. |

10 - Plumbing System

| Drain, Waste, Vent Lines |
| --- |
| Repair Standard | Minimum Life 1 year |
| Waste and vent lines must function without losing the trap seal. |
| Replacement Standard |
| When walls are removed exposing vent and waste lines those lines will be reworked to the current mechanical code. |

| Plumbing Fixtures [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 3 years |
| All fixtures and faucets will have working, drip-free components. Toilets with greater that a 1.6 GPF rating will be replaced with a maximum 1.3 GPF model. |
| Replacement Standard |
| Single lever, metal faucets and shower diverters with 15-year, drip-free warranty and maximum 2.0 GPM flow. White ceramic low-flow toilets (1.3 Gal), double bowl stainless steel sinks, and fiberglass tubs with surrounds. |

| Plumbing Minimum Equipment [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 3 years |
| Existing equipment will be repaired to conform to the Housing Quality Standards. |
| Replacement Standard |
| Every dwelling unit will have a minimum of one single bowl sink with hot and cold running water in the kitchen and at least one bathroom containing a vanity with a sink, and a shower/tub unit, both with hot and cold running water, and a toilet. Redesigned kitchens will include an ENERGY STAR-labeled dishwasher. http://www.hudnsphelp.info/media/resources/GuidanceonNSPEligibleAppliancePurchases.pdf |

| Water Heaters |
| --- |
| Repair Standard | Minimum Life 7 years |
| Each housing unit will have a working water heater less than 3 years old with a minimum capacity of 40 gallons if it is gas-fired. Gas water heaters more than 3 years old may be repaired if it is clear that a repair will make it operable. All electric water heaters will be replaced with a gas-fired model. |
| Replacement Standard |
| All units will have a minimum 40-gallon, gas-fired water heater with a 10-year warranty installed to the mechanical code. High efficiency power-vented or sealed combustion tankless models are required. |

| Water Supply |
| --- |
| Repair Standard | Minimum Life 10 years |
| The main shut off valve must be operable and completely stop the flow of water to the house. All fixtures must be leak-free and deliver sufficient cold water and, where applicable, hot water. |
| Replacement Standard |
| The main shut off valve must be operable and completely stop the flow of water to the house, and should be replaced if it does not. Lead and galvanized pipe that is part of the water service or the distribution system will be replaced with copper. All fixtures will have brass shut off valves. One freeze-protected exterior hose bib is required. |

11 - HVAC

| Air Conditioning [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life - NA |
| Non-functioning, non-repairable air conditioners will be removed and drained of all CFCs. Existing central air conditioning will be inspected, serviced and refurbished to operate safely. |
| Replacement Standard | Minimum Life 20 years |
| New HVAC systems will have a rough-in installed for air conditioning (> 13 SEER) |

| Chimney Repair |
| --- |
| Repair Standard | Minimum Life NA |
| Unused chimneys will be removed to below the roof line wherever roofing is replaced. Unsound chimneys will be repaired or removed. When chimneys must be used for combustion ventilation, they will be relined. |
| Replacement Standard | Minimum Life NA |
| The creation of new flues is not recommended in this program. The use of high efficiency closed combustion appliances is recommended to avoid the need for new flues. Replacement furnace flues, when required, will be metal double- or triple-walled as recommended by the furnace manufacturer. |

| Distribution System |
| --- |
| Repair Standard | Minimum Life 5 years |
| Duct work and radiator piping will be well supported, insulated in unconditioned space and adequate to maintain 68(F measured 36" off the floor when the outside temperature is the average yearly minimum, in all habitable and essential rooms. All duct work will be insulated to R-7, sealed at all seams with mastic (not tape) and pressure tested to eliminate leakage. |
| Replacement Standard | Minimum Life 25 years |
| All duct work will be insulated to R-7, sealed at all seams with mastic (not tape), pressure tested to eliminate leakage and run in concealed space. |
| Heating System [GREEN STANDARD] |
| Repair Standard | Minimum Life 5 years |
| Workable existing heating systems will be inspected and serviced to operate in a safe manner. Regardless of condition, resistance electric heating systems will be removed and replaced with systems as described below, unless the home has either a very low heating load to super-insulation, solar gain or a mild climate. |
| Replacement Standard | Minimum Life 25 years |
| Gas-fired heating plants will be rated at > 92% AFUE or better. Oil-fired furnaces will be rated at > 83% AFUE or better. Oil-fired boilers will be rated at > 85% AFUE or better. Heat pumps will be rated at > 15 SEER. Setback thermostats are required. When electric resistance heating systems are replaced, soffits for ductwork and/or new distribution pipes for hot water heating systems will be provided. Up to 4 lineal feet of resistance electric heating strips per 1000 square feet of floor area may be retained or installed in areas that are not cost effective to heat via ductwork or hot water distribution systems. |

12 – Appliances

| Kitchen Appliances [GREEN STANDARD] |
| --- |
| Repair Standard | Minimum Life 3 years |
| All units will have a working and cleanable range. If there is an existing dishwasher in working and cleanable condition, it may be retained with minor repairs. |
| Replacement Standard | Minimum Life 15 years |
| All redesigned kitchens will have ENERGY STAR-labeled appliances where applicable. All new cooking ranges will be electric. |

# Text boxes

This resource is part of the NSP Toolkits. Additional toolkit resources may be found at www.hud.gov/nspta

Sample Single-Family Housing Rehabilitation Standard